# PID Autotune Instructions

System Installation Preparation: Cryostation Family

| Contact: | North American Service ¦ support@montanainstruments.com ¦ +1.406.551.2796 International Service ¦ Visit www.montanainstruments.com/contact |
| --- | --- |
| Applicable Systems: | CryoAdvance-50, CryoAdvance-100, s200, 200 PT |
| This document outlines the installation and operation of the PID Autotune function for the CryoAdvance-50, CryoAdvance-100, and s200 systems. |  |

# Downloading and Running the installer Application

The installer application can be downloaded from the Software Download page on the Montana Instruments website: https://www.montanainstruments.com/support/software-downloads

The installer takes approximately 15 minutes to complete the program installation.

# Using the pid autotuner

Before beginning tuning, ensure that your system is cooled to base temperature. The system will prevent tuning and show a warning if the system is still above base temperature.

After opening the autotune application, enter the IP address of the system you are tuning on (local network connection required).

Once connected to the system, the PID schedule can be edited by either loading a file or loading directly from the system interface.

Individual target values or the entire PID schedule can be changed.

When a tune has been edited, it can be saved.

Current PID schedule can also be viewed and edited on the GUI.